WindRanger® Application Selection Guide

PowerAire | Precision Control for Advanced Wind Control Solutions

# Overview

WindRanger is an advanced wind monitoring and control system designed to automatically adjust or shut down equipment based on real-time wind conditions. This ensures optimal performance, reduces water loss, and protects mechanical systems.

Available in multiple stage configurations, WindRanger allows control strategies to be tailored to your specific application.

# How to Select the Right Configuration

The correct configuration depends on how your system should respond to changing wind conditions.

## System Response Options

Option A — Immediate Shutdown

• System shuts off when wind exceeds a defined setpoint

✔ Recommended: 1-Stage WindRanger

Option B — Reduce, Then Shutdown

• Output reduces at a lower wind speed

• System shuts down at a higher wind speed

✔ Recommended: 2-Stage WindRanger

Option C — Gradual Multi-Step Reduction

• System output reduces in multiple stages

• Maintains operation as long as possible

✔ Recommended: 3-Stage WindRanger

Option D — Fully Optimized Control

• Multi-level dynamic adjustment

• Maximum performance and protection

✔ Recommended: 4-Stage WindRanger

# Configuration Comparison

| Configuration | Function | Best Application |
| --- | --- | --- |
| 1 Stage | ON/OFF protection | Small systems, single pump |
| 2 Stage | Reduce then shutdown | Mid-size systems, basic VFD |
| 3 Stage | Progressive control | Large or multi-zone systems |
| 4 Stage | Full optimization | Complex or high-profile systems |

# Key Considerations

• Systems with Variable Frequency Drives (VFDs) benefit from multi-stage control
• Multi-pump or multi-zone systems typically require additional stages
• High-visibility installations benefit from gradual output reduction
• System size is less important than system response capability

# WindRanger System Features

• Real-time wind speed monitoring via anemometer
• Configurable wind speed setpoints per stage
• Adjustable dwell timers to prevent nuisance cycling
• Industrial HMI interface for monitoring and control
• Multi-stage digital outputs for system integration
• Optional analog output and alarm logging capabilities

# Next Steps

To determine the optimal configuration, please provide:
• System type (fountain, pump system, etc.)
• Number of pumps or zones
• Control method (VFD, starter, etc.)
• Desired system behavior during wind events

Our engineering team will review your application and recommend the best solution.

PowerAire | Engineered Control Solutions